## Slide 1: SV validation plate #1
Format: 384 amplicons ( two 384-well plates of primers )
Events: 4 different types of SVs:
Deletions
Insertions
Tandem duplications ( evertions )
Insertions
Methods: 4 SV calling algorithms
Breakdancer
DWAC-Seq
Pindel
1-2-3-SV
Public data
Deletion list published by 1000 genomes project (October 2010; trio + low coverage )

## Slide 2: Selection creteria & amplicon design
We consider that everything which was found in 1000 genome projects represents positive calls.
GoNL SV calls that are made by several tools are likely to be true
In the first verification we want to see how to improve calling for the tools used for GoNL SV analysis.
Amplicon sizes are between 200 and 500 bases
If SV allele is <= 300 bp we fully resequence it
If SV allele is > 300 bp we resequence only 5-prime breakpoint from it

## Slide 3: Randomly selected sets
Deletions
Breakdancer (27)
DWAC-Seq (27)
Pindel (27)
123SV (27)
Evertions
Breakdancer (28)
DWAC-Seq (28)
Pindel (28)
123SV (27)
Insertions
Breakdancer (27)
Pindel (28)
123SV (28)
Inversions
Breakdancer (28)
Pindel (27)
123SV (27)
Total: 384 SV candidates

## Slide 4: Verification with Ion torrent
Primer ~ 23 bp (+tail). Breakpoint should be close to the primer